## Solar PV
Solar System Payback Estimator
Inputs
| Solar | [6 empty] | Electricity Usage
| System size (kW) | Average daily sun hours | Total solar system out-of-pocket cost (incl GST) | Feed-in tariff rate ($/kWh, ex GST) | Cost of retail electricity ($ / kWh, ex GST) | Self-consumption ratio | Solar system efficiency factor | Average daily household energy usage (kWh) | Quarterly household energy usage (kWh, based on daily usage)
| 2 | 4.8 | 4000 | 0.072 | 0.48 | 30% | 85% | 12 | 1095
Outputs
| Solar power produced (kWh) | Solar power consumed (kWh) | Solar power exported to grid (kWh) | Total power purchased from grid (kWh) | Value of solar power consumed (inc GST) | Value of solar exported to grid | Total savings from solar | Total electricity usage charges with solar | Total electricity usage charges without solar
Daily | 8.16 | 2.448 | 5.712 | 9.552 | 1.2925 | 0.41126 | 1.7038 | 4.6322 | 6.336
Quarterly | 744.6 | 223.38 | 521.22 | 871.62 | 117.9446 | 37.5278 | 155.4725 | 422.6875 | 578.16
Additional inputs | Assumed electricity inflation rate (%) | Assumed discount rate (%) | Assumed FiT annual increase rate (%) | Inverter replacement cost at year 14
| 2.5% | 5% | 1.2% | 2000
Outputs | Number of years to pay off |  | Annual internal rate of return (IRR) |  | Annual savings (Year 1) |  | Net present value (NPV)
23.31%

## Calculations
Discount rate | NPV without solar |  | NPV with solar
5% | -46476.304 |  | -29524.8654
IRR
23.31%
Year | Costs without solar | Cumulative costs without solar | Costs with solar | Cumulative costs with solar | Difference from solar
0 | 0 | 0 | -4000 | -4000 | -4000 | TRUE
1 | -2370.456 | -2370.456 | -1690.7501 | -5690.7501 | 679.7059 | TRUE
2 | -2429.7174 | -4800.1734 | -1690.7501 | -7381.5002 | 738.9673 | TRUE
3 | -2490.4603 | -7290.6337 | -1690.7501 | -9072.2502 | 799.7103 | TRUE
4 | -2552.7218 | -9843.3556 | -1690.7501 | -10763.0003 | 861.9718 | TRUE
5 | -2616.5399 | -12459.8955 | -1690.7501 | -12453.7504 | 925.7898 | FALSE
6 | -2681.9534 | -15141.8489 | -1690.7501 | -14144.5005 | 991.2033 | FALSE
7 | -2749.0022 | -17890.8511 | -1690.7501 | -15835.2506 | 1058.2521 | FALSE
8 | -2817.7273 | -20708.5784 | -1690.7501 | -17526.0006 | 1126.9772 | FALSE
9 | -2888.1705 | -23596.7488 | -1690.7501 | -19216.7507 | 1197.4204 | FALSE
10 | -2960.3747 | -26557.1235 | -1690.7501 | -20907.5008 | 1269.6246 | FALSE
11 | -3034.3841 | -29591.5076 | -1690.7501 | -22598.2509 | 1343.634 | FALSE
12 | -3110.2437 | -32701.7513 | -1690.7501 | -24289.001 | 1419.4936 | FALSE
13 | -3187.9998 | -35889.7511 | -1690.7501 | -25979.751 | 1497.2497 | FALSE
14 | -3267.6998 | -39157.4509 | -3690.7501 | -29670.5011 | -423.0503 | FALSE
15 | -3349.3923 | -42506.8431 | -1690.7501 | -31361.2512 | 1658.6422 | FALSE
16 | -3433.1271 | -45939.9702 | -1690.7501 | -33052.0013 | 1742.377 | FALSE
17 | -3518.9553 | -49458.9255 | -1690.7501 | -34742.7514 | 1828.2052 | FALSE
18 | -3606.9291 | -53065.8546 | -1690.7501 | -36433.5014 | 1916.1791 | FALSE
19 | -3697.1024 | -56762.957 | -1690.7501 | -38124.2515 | 2006.3523 | FALSE
20 | -3789.5299 | -60552.4869 | -1690.7501 | -39815.0016 | 2098.7798 | FALSE
21 | -3884.2682 | -64436.7551 | -1690.7501 | -41505.7517 | 2193.5181 | FALSE
22 | -3981.3749 | -68418.13 | -1690.7501 | -43196.5018 | 2290.6248 | FALSE
23 | -4080.9092 | -72499.0392 | -1690.7501 | -44887.2518 | 2390.1592 | FALSE
24 | -4182.932 | -76681.9712 | -1690.7501 | -46578.0019 | 2492.1819 | FALSE
25 | -4287.5053 | -80969.4765 | -1690.7501 | -48268.752 | 2596.7552 | FALSE
26 | -4394.6929 | -85364.1694 | -1690.7501 | -49959.5021 | 2703.9428 | FALSE
27 | -4504.5602 | -89868.7296 | -1690.7501 | -51650.2522 | 2813.8102 | FALSE
28 | -4617.1742 | -94485.9038 | -1690.7501 | -53341.0022 | 2926.4242 | FALSE
29 | -4732.6036 | -99218.5074 | -1690.7501 | -55031.7523 | 3041.8535 | FALSE
30 | -4850.9187 | -104069.4261 | -1690.7501 | -56722.5024 | 3160.1686 | FALSE